## Sheet1
Sample ID | Run # | Position | Sample Timestamp | Tray Timestamp | Volume | Depth | Inclination: Unrotated | Inclination: Sample Rotated | Inclination: Formation Rotated | Declination: Unrotated | Declination: Sample Rotated | Declination: Formation Rotated | Intensity | Sample Azimiuth | Sample Dip | Formation Dip Azimuth | Formation Dip | Mag Dev | X intensity | X meter | X mean | X corr | X std dev | Y intensity | Y meter | Y mean | Y corr | Y std dev | Z intensity | Z meter | Z mean | Z corr | Z std dev | # MM averaged | X drift | Y drift | Z drift | MM drift time | X bkg #1 | X bkg #2 | Y bkg #1 | Y bkg #2 | Z bkg #1 | Z bkg #2 | Bkg #1 time | Bkg #2 time | MS mean | MS corr | MS std dev | # MS averaged | MS drift | MS drift time | MS bkg #1 | MS bkg #2 | MS bkg #1 time | MS bkg #2 time | MS range | MS unit | Treatment Type | AF X | AF Y | AF Z | ARM Gauss | ARM axis | IRM Gauss | Temp C | Offline Comment | Meas. type | Data type | Orientation | Leader length | Trailer length | Settling time | Drift corrected | Tray corrected | X calib | Y calib | Z calib | X responce | Y responce | Z responce | X filter | Y filter | Z filter | X range | Y range | Z range | X slew | Y slew | Z slew | X feedback | Y feedback | Z feedback
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43572 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | 19.93 | 19.93 | 19.93 | 345.19 | 345.19 | 345.19 | 7.8684e-06 | 0 | 90 | 0 | 0 | 0 | 7.1516e-06 | 2.3455 | 5.7174e-05 | 5.7213e-05 | 2.7006e-08 | -1.8904e-06 | -0.62613 | -1.5161e-05 | -1.5123e-05 | 1.0666e-07 | 2.6818e-06 | 1.251 | 2.1449e-05 | 2.1455e-05 | 4.4624e-08 | 2 | 1.7548e-09 | -3.9478e-10 | 1.3152e-09 | 50568 | -1.0803e-07 | -1.0425e-07 | -1.6362e-08 | -1.721e-08 | -1.8672e-08 | -1.5845e-08 | 0 | 108674 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | None | 0 | 0 | 0 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43573 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -31.45 | -31.45 | -31.45 | 328.81 | 328.81 | 328.81 | 9.5754e-06 | 0 | 90 | 0 | 0 | 0 | 6.9884e-06 | 2.3393 | 5.5868e-05 | 5.5907e-05 | 2.9439e-08 | -4.2303e-06 | -1.3981 | -3.388e-05 | -3.3842e-05 | 1.818e-09 | -4.9956e-06 | -2.3341 | -3.9968e-05 | -3.9965e-05 | 4.1849e-07 | 2 | 2.1002e-09 | -1.6966e-10 | 3.7567e-09 | 50947 | 1.0474e-06 | 1.0519e-06 | -8.6052e-09 | -8.9688e-09 | -1.4646e-08 | -6.595e-09 | 0 | 109186 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 100 | 100 | 100 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43574 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -33.92 | -33.92 | -33.92 | 327.73 | 327.73 | 327.73 | 8.8031e-06 | 0 | 90 | 0 | 0 | 0 | 6.1773e-06 | 2.0857 | 4.9378e-05 | 4.9418e-05 | 8.1724e-07 | -3.8998e-06 | -1.289 | -3.1238e-05 | -3.1199e-05 | 3.6481e-08 | -4.912e-06 | -2.2952 | -3.9299e-05 | -3.9296e-05 | 4.4435e-07 | 2 | 1.2943e-09 | -1.682e-09 | 4.2791e-09 | 50331 | 1.3661e-06 | 1.3689e-06 | -8.3628e-09 | -1.1999e-08 | -1.6787e-08 | -7.5372e-09 | 0 | 108801 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 200 | 200 | 200 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43575 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -34.7 | -34.7 | -34.7 | 327.63 | 327.63 | 327.63 | 7.8728e-06 | 0 | 90 | 0 | 0 | 0 | 5.4668e-06 | 1.8132 | 4.3696e-05 | 4.3734e-05 | 5.5107e-08 | -3.4649e-06 | -1.1458 | -2.7757e-05 | -2.772e-05 | 1.6156e-07 | -4.4821e-06 | -2.0946 | -3.5861e-05 | -3.5857e-05 | 9.6125e-07 | 2 | 2.591e-09 | 3.9282e-10 | 3.1726e-09 | 50433 | 4.2018e-07 | 4.2577e-07 | -1.6483e-08 | -1.5635e-08 | -1.97e-08 | -1.2847e-08 | 0 | 108924 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 250 | 250 | 250 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43576 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -35.21 | -35.21 | -35.21 | 327.51 | 327.51 | 327.51 | 6.7696e-06 | 0 | 90 | 0 | 0 | 0 | 4.6655e-06 | 1.5454 | 3.7284e-05 | 3.7324e-05 | 1.1557e-08 | -2.9713e-06 | -0.98276 | -2.3808e-05 | -2.377e-05 | 2.1513e-07 | -3.9028e-06 | -1.824 | -3.1224e-05 | -3.1222e-05 | 3.372e-07 | 2 | 1.016e-09 | -5.6238e-10 | 5.8422e-09 | 50306 | 3.1544e-07 | 3.1763e-07 | -1.3817e-08 | -1.5029e-08 | -2.1327e-08 | -8.7363e-09 | 0 | 108415 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 300 | 300 | 300 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43577 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -35.28 | -35.28 | -35.28 | 327.87 | 327.87 | 327.87 | 5.7759e-06 | 0 | 90 | 0 | 0 | 0 | 3.9929e-06 | 1.2766 | 3.1902e-05 | 3.1944e-05 | 6.3745e-08 | -2.5073e-06 | -0.8298 | -2.0098e-05 | -2.0058e-05 | 1.7162e-07 | -3.3363e-06 | -1.5593 | -2.6693e-05 | -2.669e-05 | 3.3866e-07 | 2 | -9.0314e-10 | -1.8558e-09 | 4.8883e-09 | 50306 | -8.4194e-07 | -8.4389e-07 | -1.6726e-08 | -2.0725e-08 | -1.7815e-08 | -7.2802e-09 | 0 | 108417 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 350 | 350 | 350 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43578 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -35.02 | -35.02 | -35.02 | 329.51 | 329.51 | 329.51 | 4.9997e-06 | 0 | 90 | 0 | 0 | 0 | 3.5282e-06 | 1.0807 | 2.8188e-05 | 2.8226e-05 | 8.1822e-07 | -2.0773e-06 | -0.68816 | -1.6655e-05 | -1.6619e-05 | 1.7344e-07 | -2.8694e-06 | -1.3416 | -2.2955e-05 | -2.2955e-05 | 2.4838e-09 | 2 | 2.7129e-09 | 1.4077e-09 | 6.8046e-09 | 50430 | -1.8941e-06 | -1.8883e-06 | -2.6179e-08 | -2.3149e-08 | -2.638e-08 | -1.1734e-08 | 0 | 108545 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 400 | 400 | 400 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43579 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -34.82 | -34.82 | -34.82 | 327.86 | 327.86 | 327.86 | 4.2022e-06 | 0 | 90 | 0 | 0 | 0 | 2.9212e-06 | 0.74384 | 2.3329e-05 | 2.337e-05 | 2.4026e-07 | -1.8353e-06 | -0.60906 | -1.4721e-05 | -1.4682e-05 | 1.4992e-07 | -2.3994e-06 | -1.1218 | -1.9201e-05 | -1.9195e-05 | 2.2355e-07 | 2 | -5.6374e-11 | -1.0671e-09 | 1.1114e-09 | 50300 | -5.2302e-06 | -5.2303e-06 | -4.3268e-08 | -4.5571e-08 | -1.4389e-08 | -1.1991e-08 | 0 | 108543 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 450 | 450 | 450 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43580 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -36.89 | -36.89 | -36.89 | 328.08 | 328.08 | 328.08 | 3.7142e-06 | 0 | 90 | 0 | 0 | 0 | 2.5214e-06 | 0.63824 | 2.0128e-05 | 2.0171e-05 | 2.1508e-07 | -1.5707e-06 | -0.52154 | -1.2606e-05 | -1.2566e-05 | 1.3659e-07 | -2.2295e-06 | -1.0425 | -1.7843e-05 | -1.7836e-05 | 1.0544e-06 | 2 | -2.5964e-09 | -2.8118e-09 | 2.7819e-10 | 50303 | -4.5987e-06 | -4.6043e-06 | -3.5996e-08 | -4.2056e-08 | -1.4646e-08 | -1.4047e-08 | 0 | 108414 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 500 | 500 | 500 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43581 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -35.62 | -35.62 | -35.62 | 328.48 | 328.48 | 328.48 | 3.0878e-06 | 0 | 90 | 0 | 0 | 0 | 2.1399e-06 | 0.44834 | 1.7078e-05 | 1.7119e-05 | 2.1471e-07 | -1.3122e-06 | -0.43669 | -1.0537e-05 | -1.0498e-05 | 1.1987e-07 | -1.7983e-06 | -0.84086 | -1.4393e-05 | -1.4386e-05 | 1.3764e-07 | 2 | -3.3912e-10 | -2.0272e-09 | -1.1938e-10 | 50430 | -6.1683e-06 | -6.169e-06 | -4.7632e-08 | -5.1995e-08 | -1.0878e-08 | -1.1134e-08 | 0 | 108543 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 550 | 550 | 550 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43582 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -33.31 | -33.31 | -33.31 | 328.27 | 328.27 | 328.27 | 2.6074e-06 | 0 | 90 | 0 | 0 | 0 | 1.8532e-06 | 0.32388 | 1.4787e-05 | 1.4826e-05 | 1.7189e-07 | -1.146e-06 | -0.38211 | -9.2049e-06 | -9.1683e-06 | 9.793e-08 | -1.4321e-06 | -0.67001 | -1.1466e-05 | -1.1457e-05 | 1.158e-07 | 2 | 2.5401e-09 | 1.0685e-09 | -1.8281e-09 | 50306 | -6.9057e-06 | -6.9002e-06 | -5.6722e-08 | -5.4419e-08 | -1.1391e-08 | -1.5331e-08 | 0 | 108418 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 600 | 600 | 600 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43583 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -35.31 | -35.31 | -35.31 | 323.14 | 323.14 | 323.14 | 1.6116e-06 | 0 | 90 | 0 | 0 | 0 | 1.0522e-06 | 0.00939 | 8.3717e-06 | 8.4173e-06 | 1.1678e-07 | -7.8888e-07 | -0.26426 | -6.3518e-06 | -6.3111e-06 | 7.4174e-08 | -9.3154e-07 | -0.43683 | -7.4559e-06 | -7.4523e-06 | 8.505e-08 | 2 | -4.7189e-09 | -3.1343e-09 | 3.6388e-09 | 50302 | -8.1415e-06 | -8.1518e-06 | -5.3207e-08 | -5.9994e-08 | -2.6808e-08 | -1.8929e-08 | 0 | 108928 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 700 | 700 | 700 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43584 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -33.76 | -33.76 | -33.76 | 339.07 | 339.07 | 339.07 | 1.1256e-06 | 0 | 90 | 0 | 0 | 0 | 8.7407e-07 | -0.053525 | 6.9519e-06 | 6.9926e-06 | 9.3306e-08 | -3.3424e-07 | -0.11449 | -2.7122e-06 | -2.6739e-06 | 3.636e-08 | -6.2554e-07 | -0.29368 | -5.0098e-06 | -5.0043e-06 | 5.9184e-08 | 2 | 2.8266e-10 | -6.1955e-10 | 1.8309e-09 | 50559 | -8.2531e-06 | -8.2525e-06 | -6.3145e-08 | -6.4478e-08 | -2.0899e-08 | -1.6959e-08 | 0 | 108798 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 800 | 800 | 800 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close
1003_397-U1587B-54X-6W_T8cm_NRM_05-10-2023_SMALLSRM_YJ | 43585 | 4 | 05/10/20 1458 | 05/10/20 1444 | 8 | 4 | -14.19 | -14.19 | -14.19 | 39.32 | 39.32 | 39.32 | 3.7042e-07 | 0 | 90 | 0 | 0 | 0 | 2.7784e-07 | -0.28371 | 2.1785e-06 | 2.2227e-06 | 3.1142e-08 | 2.2754e-07 | 0.070705 | 1.7825e-06 | 1.8203e-06 | 2.5816e-08 | -9.0783e-08 | -0.043835 | -7.276e-07 | -7.2626e-07 | 9.6785e-09 | 2 | -3.3191e-09 | -1.6814e-10 | 5.9412e-09 | 51199 | -9.0798e-06 | -9.087e-06 | -6.8963e-08 | -6.9326e-08 | -2.304e-08 | -1.0192e-08 | 0 | 110714 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Degauss X, Y, & Z | 1000 | 1000 | 1000 | NA | NA | NA | NA | NA | SAMPLE/DISCRETE | SAMPLE | Normal: +X +Y | NA | NA | 1 | YES | YES | 2.43e-05 | 2.42e-05 | 1.71e-05 | 1 | 1 | 1 | 1 Hz | 1 Hz | 1 Hz | 1 x | 1 x | 1 x | Slow | Slow | Slow | Close | Close | Close